## XDM2041
Name | GET/SET | CMD | Parameters | Return type | Return example
IDN | GET | *IDN? |  |  | OWON,XDM2041,2153136,V3.0.0,3
VDC | SET | CONF:VOLT:DC {RANGE} | RANGE:AUTO;500E-3;5;50;500;1000
VAC | SET | CONF:VOLT:AC {RANGE} | RANGE:AUTO;500E-3;5;50;500;750
IDC | SET | CONF:CURR:DC {RANGE} | RANGE:AUTO;500E-6;5E-3;50E-3;500E-3;5;10
IAC | SET | CONF:CURR:AC {RANGE} | RANGE:AUTO;500E-6;5E-3;50E-3;500E-3;5;10
R2W | SET | CONF:RES {RANGE} | RANGE:AUTO;500;5000;50000;500000;5000000;50000000
R4W | SET | CONF:FRES {RANGE} | RANGE:AUTO;500;5000;50000;500000;5000000;50000000
CAP | SET | CONF:CAP {RANGE} | RANGE:AUTO;50e-9;50e-8;50e-7;50e-6;50e-5;50e-4;50e-3
FREQ | SET | CONF:FREQ
TEMP | SET | CONF:TEMP
DIOD | SET | CONF:DIOD
CONT | SET | CONF:CONT
PERIOD | SET | CONF:PER
Get range | GET | RANGE? |  | string | 500uA
read | GET | MEAS? |  | float | -96.0002

## KA3005PS
Name | GET/SET | CMD | Parameters | Return example
Identification | GET | *IDN? |  | KORAD KA3005PS V1.0 SN:03820940
Status | GET | STATUS?
Set target level | SET | {VA}SET1:{VOLT} | VA:V;I¦VOLT:V.2f
Get target level | GET | {VA}SET1? | VA:V;I
Get actual level | GET | {VA}OUT1? | VA:V;I
Set protection | SET | {MODE}{STATE} | MODE:OCP;OVP¦STATE:0;1
Set output state | SET | OUT{STATE} | STATE:0;1

## KA3005P
Name | GET/SET | CMD | Parameters | Return type | Return example
Identification | GET | *IDN? |  |  | KORAD KA3005P V1.0 SN:03820940
Status | GET | STATUS?
Set target level | SET | {VA}SET1:{VOLT} | VA:V;I¦VOLT:V.2f
Get target level | GET | {VA}SET1? | VA:V;I
Get actual level | GET | {VA}OUT1? | VA:V;I
Set protection | SET | {MODE}{STATE} | MODE:OCP;OVP¦STATE:0;1
Set output state | SET | OUT{STATE} | STATE:0;1

## SDG1032X
Name | GET/SET | CMD | Parameters | Return type | Return example
Identification | GET | *IDN? |  | str
Reset | SET | *RST
Output enable/disable | SET | {CH}:OUTP {STATE} | CH:C1;C2 ¦ STATE:ON;OFF
Output load | SET | {CH}:OUTP LOAD,{LOAD} | CH:C1;C2 ¦ LOAD:50;HZ
Output polarity | SET | {CH}:OUTP PLRT,{PLRT} | CH:C1;C2 ¦ PLRT:NOR;INVT
Set waveform type | SET | {CH}:BSWV WVTP,{WVTP} | CH:C1;C2 ¦ WVTP:SINE;SQUARE;RAMP;PULSE;NOISE;ARB;DC
Set waveform parameter | SET | {CH}:BSWV {PARAM},{VALUE} | CH:C1;C2 ¦ PARAM:FREQ;PERI;AMP;OFST;HLEV;LLEV;PHSE;DUTY;WIDTH¦VALUE
Modulation state | SET | {CH}:MDWV STATE,{STATE} | CH:C1;C2 ¦ STATE:ON;OFF
Select modulation type | SET | {CH}:MDWV {TYPE} | CH:C1;C2 ¦ TYPE:AM;FM;PM;FSK;ASK;DSBAM;PWM
AM: set source | SET | {CH}:MDWV AM,SRC,{SRC} | CH:C1;C2 ¦ SRC:INT;EXT
AM: set mod wave shape | SET | {CH}:MDWV AM,MDSP,{SHAPE} | CH:C1;C2 ¦ SHAPE:SINE;SQUARE;TRIANGLE;UPRAMP;DNRAMP;NOISE;ARB
AM: set Parameter | SET | {CH}:MDWV AM,{PARAM},{VALUE} | CH:C1;C2 ¦ PARAM:FRQ;DEPTH¦VALUE
AM: set frequency | SET | {CH}:MDWV AM,FRQ,{FREQ} | CH:C1;C2 ¦ FREQ
AM: set depth | SET | {CH}:MDWV AM,DEPTH,{DEPTH} | CH:C1;C2 ¦ DEPTH
FM: set deviation | SET | {CH}:MDWV FM,DEVI,{DEVI} | CH:C1;C2 ¦ DEVI:Hz
FM: set frequency | SET | {CH}:MDWV FM,FRQ,{FREQ} | CH:C1;C2 ¦ FREQ:Hz
Sweep state | SET | {CH}:SWWV STATE,{STATE} | CH:C1;C2 ¦ STATE:ON;OFF
Set Sweep parameter | SET | {CH}:SWWV {parameter},{value} | CH:C1;C2 ¦ parameter:START;STOP;TIME¦value
Sweep trigger source | SET | {CH}:SWWV TRSR,{TRSR} | CH:C1;C2 ¦ TRSR:EXT;INT;MAN
Sweep mode | SET | {CH}:SWWV SWMD,{SWMD} | CH:C1;C2 ¦ SWMD:LINE;LOG
Sweep direction | SET | {CH}:SWWV DIR,{DIR} | CH:C1;C2 ¦ DIR:UP;DOWN
Sweep manual trigger | SET | {CH}:SWWV MTRIG | CH:C1;C2 | (only when TRSR=MAN)
Burst state | SET | {CH}:BTWV STATE,{STATE} | CH:C1;C2 ¦ STATE:ON;OFF
Burst period | SET | {CH}:BTWV PRD,{PRD} | CH:C1;C2 ¦ PRD:s
Burst trigger source | SET | {CH}:BTWV TRSR,{TRSR} | CH:C1;C2 ¦ TRSR:EXT;INT;MAN
Copy channel parameters | SET | PACP {DEST},{SRC} | DEST:C1;C2 ¦ SRC:C1;C2
Note on A1: SCPI commands compiled from: https://int.siglent.com/upload_file/user/SDG1000/SDG1000_RemoteControlManual_RC02010-E02A.pdf

## Z650-1-U
Name | GET/SET | CMD | Parameter(s)
Identify | GET | *IDN?
Output ON/OFF | SET | OUTPut:STATe {STATE} | STATE:ON;OFF
Output state | GET | OUTPut:STATe?
Read mode (CV/CC/OFF) | GET | OUTPut:MODE?
Set voltage | SET | VOLTage {VOLT} | VOLT:V.3f
Get voltage setpoint | GET | VOLTage?
Set current limit | SET | CURRent {CURR} | CURR:V.3f
Get current setpoint | GET | CURRent?
Measure voltage | GET | MEASure:VOLTage?
Measure current | GET | MEASure:CURRent?
Measure power | GET | MEASure:POWer?
Clear protection latch | SET | OUTPut:PROTection:CLEar
Set OVP level | SET | VOLTage:PROTection:LEVel {OVP} | OVP:V.2f
Read OVP level | GET | VOLTage:PROTection:LEVel?
UVP mode (UVP/UVL) | SET | VOLTage:PROTection:LOW:STATe {MODE} | MODE:UVP;UVL
Set UVP/UVL level | SET | VOLTage:PROTection:LOW {UV} | UV:V.2f
Read UVP/UVL level | GET | VOLTage:PROTection:LOW?
Read system error | GET | SYSTem:ERRor?

## SDS1104X-U
Name | GET/SET | CMD | Parameters | Return type
Identify | GET | *IDN?
Clear status | SET | *CLS
Query error | GET | SYSTem:ERRor?
Display trace | SET | {CH}:TRAce {mode} | CH:C1;C2;C3;C4;TA;TB;TC;TD ¦ mode:ON;OFF
Set coupling | SET | {CH}:CPL {mode} | CH:C1;C2;C3;C4 ¦ mode:A1M;D1M;GND
V/DIV | SET | {CH}:VDIV {V_GAIN} | CH:C1;C2;C3;C4 ¦ V_GAIN
S/DIV | SET | TDIV {value} | value:1NS;2NS;5NS;10NS;20NS;50NS;100NS;200NS;500NS;1US;2US;5US;10US;20US;50US;100US;200US;500US;1MS;2MS;5MS;10MS;20MS;50MS;100MS;200MS;500MS;1S;2S;5S;10S;20S;50S
Trigger mode | SET | TRMD {state} | state:AUTO;NORM;SINGLE;STOP
Trigger type | SET | TRSE {trig_type},SR,{source} | trig_type:EDGE;GLIT;SLEW;INTV ¦ source:C1;C2;C3;C4;LINE;EX;EX5
single | SET | ARM
Force trigger | SET | TRMD SINGLE;ARM;FRTR
Run | SET | RUN
Stop | SET | STOP
Single acquisition | SET | SINGle
Set vertical offset | SET | CHANnel{CH}:OFFSet {OFFS} | CH:1;2;3;4
Read vertical offset | GET | CHANnel{CH}:OFFSet? | CH:1;2;3;4
Set time scale | SET | TIMebase:SCALe {TIME} | TIME
Read time scale | GET | TIMebase:SCALe?
Set time offset | SET | TIMebase:OFFSet {OFFS} | OFFS
Read time offset | GET | TIMebase:OFFSet?
Set trigger source | SET | TRIGger:EDGE:SOURce CHANnel{CH} | CH:1;2;3;4
Set trigger slope | SET | TRIGger:EDGE:SLOPe {SLOPE} | SLOPE:POS;NEG
Set trigger level | SET | TRIGger:EDGE:LEVel {LEV} | LEV:V.3f
Read trigger level | GET | TRIGger:EDGE:LEVel?
Set trigger mode | SET | TRIGger:MODE {MODE} | MODE:AUTO;NORM;SING
Read trigger mode | GET | TRIGger:MODE?
Measure frequency | GET | MEASure:FREQuency? CHANnel{CH} | CH:1;2;3;4
Measure Vpp | GET | MEASure:VPP? CHANnel{CH} | CH:1;2;3;4
Measure Vrms | GET | MEASure:VRMS? CHANnel{CH} | CH:1;2;3;4
Measure mean voltage | GET | MEASure:VAVerage? CHANnel{CH} | CH:1;2;3;4
Measure duty cycle | GET | MEASure:DUTYcycle? CHANnel{CH} | CH:1;2;3;4
Set acquisition type | SET | ACQuire:TYPE {TYPE} | TYPE:NORM;AVER;PEAK;HRES
Read acquisition type | GET | ACQuire:TYPE?
Set averaging count | SET | ACQuire:AVERage {COUNT} | COUNT
Read averaging count | GET | ACQuire:AVERage?
Save screenshot to USB | SET | SAVE:IMAGe "{path}" | path |  | for example: USB0:/screen.png